## Sheet1
BOS MATERIALS
SN | ITEM NO. | Description | C21 | W03 | W08 | TOTAL QTY | DESCRIPTION
1 | 510083 | KIT; TILE ROOF; QUICK HOOK; QMHSS-SP | 20000 | 0 | 0 | 20000 | Kit contains: QuickMount Quick Hook® SS (QMHSS) , Standard height hook for Side mount rails + M10 DIN Mounting Hardware: One Screw Hex head, M10x25mm, DIN 933, 304SS+ One Nut, Flange, Serrated, M10, DIN 6923, 304 SS. Packaged in a box of 12 pieces.
2 | 504012 | ASSY; TRAY; BALLAST; FULL WIDTH; T5 | 3000 | 0 | 0 | 3000 | Dimension UOM - IN - [Length - 42; Width - 9; Height - 4.44; Weight 3.79 LBS]
3 | 512344 | MONITORING KIT; METER; REVENUE GRADE; WATTNODE; MODBUS; 100A | 0 | 0 | 100 | 100 | 100A REVENUE GRADE MODBUS WATTNODE METER. INCLUDES 100A ACCU-CTS AND DB9 CONNECTOR
4 | 110026 | Mounting Item; SPR-TH; Tile Hook; Universal Mount (24 units / Box) | 85 | 0 | 0 | 85 | Dimension UOM - IN - [Length - 16.44; Width - 16.44; Height - 17.04; Weight 29 LBS]
5 | 513003 | POWER MANAGER; ACPV; G2 HW; SPM-103; SBT (850-00174) | 276 | 0 | 1 | 277 | include the documentation plus the chassis assembly (mechanicals and pcba)
6 | 109963 | ASSY; MET STATION; DIGITAL; FREE STANDING; COMMERCIAL (1508-327) | 13 | 1 | 0 | 14 | Dimension UOM - IN - [Length - 0.96; Width - 0.96; Height - 0.96; Weight 1.00 LBS]
7 | 110442 | ASSY; WIRE-TRAY; T10; METRIC (1508-782) | 2386 | 59 | 0 | 2445 | Routes homerun wires to the combiner boxes. Maximum number of conductors in each wire tray is 30. Wire trays must be a minimum of 4" (10cm) apart
8 | 110841 | Mounting Kit; SPR-LBL-7ROLL | 126 | 4 | 14 | 144 | RLC Mounting Part
9 | 126444 | MONITORING ITEM; SP-ACC-Enc; ACCESSORY KIT; SMS | 0 | 395 | 0 | 395 | SMS Residential Device Guide
10 | 126499 | INTER ROW EXTENSION CABLE; ACPV; 10'; 5-PIN PLUG TO 5-PIN PLUG (850-00062) | 683 | 24 | 3 | 710 | 20A, exterior-rated 4-wire (L1, L2, N, and Ground) cable; - 10-foot length with SolarBridge cable plugs on both ends
11 | 105589 | NUT; CHANNEL; NO SPRING; LOW PROFILE; 1/4-20; 316 SS (1503-533) | 22077 | 0 | 0 | 22077 | Dimension UOM - IN - [Length - 1.2; Width - 0.72; Height - 0.72; Weight 0.075 LBS]
12 | 505886 | BRACKET; ANCHOR; T5; ECOFASTEN | 4517 | 10 | 0 | 4527 | ANCHOR BRACKET FOR T5 AND ECOFASTEN ANCHOR FOR USE WHEN NO-SLIDE HARDWARE IS USED TO PREVENT T5 THERMAL CREEP
13 | 126497 | INTER ROW EXTENSION CABLE; ACPV; 5'; 5-PIN PLUG TO 5-PIN PLUG (850-00063) | 756 | 0 | 3 | 759 | 20A, exterior-rated 4-wire (L1, L2, N, and Ground) cable, - 5-foot length with SolarBridge cable plugs on both ends
14 | 504242 | KIT; TOOL; ACPV GEN2 | 95 | 0 | 0 | 95 | Kit consists of: PN 503140, TOOL, CRIMP, GROUND WIRE, ACPV GEN2; PN 503142, TOOL, CABLE STRIPPING, ACPV GEN2; PN 504241, TOOL, WIRE STRIPPER, 12GA, ACPV GEN2
15 | 126496 | INTER ROW EXTENSION CABLE; ACPV; 5'; 5-PIN RECEPTACLE TO 5-PIN RECEPTACLE (850-00065) | 779 | 7 | 5 | 791 | 20A, exterior-rated 4-wire (L1, L2, N, and Ground) cable ; - 5-foot length with SolarBridge cable receptacles on both ends
16 | 500230 | ASSY; 460V GEARMOTOR; 15 TON ACTUATOR; VERTICAL MOTOR; 3/4W X 2.9LG CLEVIS END | 14 | 0 | 0 | 14 | Dimension UOM - IN - [Length - 72; Width - 14; Height - 16.44; Weight 45 LBS]
17 | 126498 | INTER ROW EXTENSION CABLE; ACPV; 10'; 5-PIN RECEPTACLE TO 5-PIN RECEPTACLE (850-00064) | 580 | 8 | 2 | 590 | 20A, exterior-rated 4-wire (L1, L2, N, and Ground) cable; - 10-foot length with SolarBridge cable receptacles on both ends
18 | 109932 | CABINET; METER & CT; 200A; 13-JAW; AMP; CT2-4L (1508-449) | 12 | 0 | 0 | 12 | Dimension UOM - IN - [Length - 30.48; Width - 9.24; Height - 40.44; Weight 142 LBS]
19 | 506059 | ASSY; BRACKET; ADAPTER; BALLAST TRAY; NORTH-SOUTH; T5 | 4337 | 0 | 0 | 4337 | THIS ASSY INCORPORATES AN EPDM SLIP SHEET AND ALLOWS THE USE OF 504012, NEW BALLAST TRAY IN THE NORTH AND SOUTH EDGES OF THE T5 ARRAY
20 | 125332 | SWITCH; SAFETY; 400A; 600VDC; NEMA 3R; 4-POLE; FUSED | 11 | 0 | 0 | 11 | Dimension UOM - IN - [Length - 32; Width - 9.96; Height - 46.44; Weight 85 LBS]
21 | 503197 | ASSY; 460V GEARMOTOR; 15 TON ACTUATOR; 30DEG MOTOR; 3/4 W X 2.9 LG CLEVIS END | 11 | 0 | 0 | 11 | Dimension UOM - IN - [Length - 39.96; Width - 24; Height - 30; Weight 242.5 LBS]
22 | 508575 | WIRE; SOLAR ARRAY; TYPE PV; RHH OR RHW-2; 2000V; XLPE; 12AWG; 2500FT SPOOL | 28 | 0 | 0 | 28 | Industry standard permits a +/- 10% variance for wire spool sizes.
23 | 125739 | INTRA ROW EXTENSION/TRANSITION CABLE; ACPV; 5'; 5-PIN RECEPTACLE TO 5-PIN PLUG (850-00049) | 464 | 10 | 0 | 474 | 20A, exterior-rated 4-wire (L1, L2, N, and Ground) cable; - 5-foot length with SolarBridge cable plug on one end and a SolarBridge cable receptacle on the other
24 | 500401 | ASSY; SUPPORT; SOUTH; UNIVERSAL; T10 METRIC; UHMW-PE | 1076 | 0 | 11 | 1087 | Dimension UOM - IN - [Length - 5.04; Width - 5.04; Height - 2.04; Weight 0.934 LBS]
25 | 500400 | ASSY; SUPPORT; NORTH; UNIVERSAL; T10 METRIC; UHMW-PE | 374 | 0 | 11 | 385 | Dimension UOM - IN - [Length - 13.2; Width - 5.04; Height - 9.96; Weight 2.3 LBS]
26 | 104209 | KIT; MOUNTING ITEM; SOLARMOUNT SPR-SM-4; BLACK | 75 | 0 | 0 | 75 | RLC Mounting Part. Dimension UOM - IN - [Length - 132; Width - 3; Height - 3; Weight 18 LBS]
27 | 500212 | MOUNTING ITEM; UNIRAC; SM GROUND CLIP; SS; UGC-1 (20 UNITS/BOX) | 0 | 0 | 171 | 171 | RLC Mounting Part. Dimension UOM - IN - [Length - 8.52; Width - 6.24; Height - 4.2; Weight 1 LBS]
28 | 126548 | MONITORING ITEM; SP-ACC-STD; RESIDENTIAL INSTALL KIT; SMS | 3 | 11 | 2 | 16 | SMS Part. Dimension UOM - IN - [Length - 15; Width - 12.96; Height - 8; Weight 11.54 LBS]
29 | 106248 | METER; STANDARD PULSE; WATTNODE; 120VAC; 4.00Hz (1507-134) | 43 | 15 | 0 | 58 | DAS Part.MODEL: WNB-3Y-208-P, US METER
30 | 109934 | CABINET; METER & CT; 600A; 13-JAW; AMP; CT6-4L (1508-451) | 2 | 0 | 0 | 2 | Dimension UOM - IN - [Length - 48; Width - 39.96; Height - 39.96; Weight 215 LBS]
31 | 501129 | BUSHING; INSULATING WATERTIGHT; RIGID 3 CONDUIT; OZ-GEDNEY; HRK-300 | 25 | 0 | 0 | 25 | WATERTIGHT BUSHING, INSULATING, RIGID 3" CONDUIT, OZ GEDNEY, Type HRK
32 | 106722 | GPS; CONTROLLER; TRACKER; 16HVS (1507-429) | 14 | 0 | 0 | 14 | Drive Part
33 | 101746 | Mounting Item; FLA-12; Flashings; 18x12 black (12 units / Box) | 0 | 40 | 0 | 40 | Non-fading and non-cracking, rigid black thermoplastic base.Self-sealing collar slides over pipe and requires no calking.Can be used in commercial or residential applications where a watertight seal for roof penetrations around the plumbing vent pipe is required. Rated 180°F continuous heat. Approved for Type B installations. Plastic base roof flashing slides over DWV pipe for pitch from 0 - 45° or up to 12/12 roof.Not for hot-mopped or built-up roofs.Non-fading sealing collar.Do not use petroleum based products or paint on flashing collar.
34 | 125329 | SWITCH; SAFETY; 200A; 600VDC; NEMA 3R; 4-POLE; NON-FUSED | 5 | 0 | 0 | 5 | Dimension UOM - IN - [Length - 32; Width - 26.04; Height - 10.44; Weight 72 LBS]
35 | 500220 | KIT-B; CABLE TRAY; OASIS V1.2; STANDARD; 18R; .40 GCR | 1 | 0 | 0 | 1 | Purchased kit of Oasis Tracker DC Electrical infrastructure, including cable trays, cable tray and combiner box mounting brackets, and combiner box sunshield. Gcr: 0.40
36 | 110388 | ARRAY JUNCTION BOX; SIEMENS; SINVERT; 12-STR; 20A; A12-N100-F6(15A)-MC4 | 3 | 0 | 0 | 3 | Dimension UOM - IN - [Length - 21.48; Width - 10.44; Height - 5.28; Weight 12.782 LBS]
37 | 125330 | SWITCH; SAFETY; 200A; 600VDC; NEMA 3R; 4-POLE; FUSED | 2 | 0 | 0 | 2 | Dimension UOM - IN - [Length - 23.04; Width - 9; Height - 29.04; Weight 42 LBS]
38 | 125331 | SWITCH; SAFETY; 400A; 600VDC; NEMA 3R; 4-POLE; NON-FUSED | 1 | 0 | 0 | 1 | Dimension UOM - IN - [Length - 46.44; Width - 9.96; Height - 33; Weight 210 LBS]
39 | 506180 | PANELBOARD; 480V; 250A; MLO; 35KAIC; 5-45A BREAKERS W/ AUX BREAKER | 0 | 1 | 0 | 1 | 250A, 480V, 3PH, 3W, 35KAIC, MLO ; Panelboard includes 5-45A feeder breakers and 1-20A/2P breaker
40 | 110134 | TOOL SET; MC3 Connectors | 1 | 0 | 0 | 1 | Hand Tool. Dimension UOM - IN - [Length - 12.96; Width - 8; Height - 3.48; Weight 3.79 LBS]
41 | 505883 | BRACKET; ANCHOR; T5; OMG | 4145 | 0 | 0 | 4145
42 | 105687 | COVER; WIRE; RFT10; SUNP210; 90 DEG; (1505-904) | 0 | 0 | 1625 | 1625
43 | 504158 | BOLT; SHCS M8-1.25X120; A2-70 | 19829 | 0 | 0 | 19829
44 | 506292 | BAR; FORMED; ANCHOR; T5 | 2735 | 0 | 0 | 2735 | THIS BAR IS USED IN THE AISLEWAY OF A T5 WHEN THE ECOFASTEN OR OMG ANCHORS ARE USED.
45 | 506222 | CLIP; CONDUIT; NORTH LOCATION; T5 | 5148 | 0 | 0 | 5148
46 | 506223 | CLIP; CONDUIT; EAST/WEST LOCATION; T5 | 4628 | 0 | 0 | 4628
47 | 506340 | SPACER; BOLT BRACKET; ADAPTER; BALLAST TRAY; PERIMETER; T5 | 36515 | 168 | 0 | 36683
48 | 506066 | PLATE; WASHER; SOUTH BALLAST; T5 | 23499 | 0 | 0 | 23499
49 | 503137 | PLUG; ACPV GEN2 | 982 | 0 | 0 | 982
50 | 503138 | RECEPTACLE; ACPV GEN2 | 900 | 0 | 0 | 900
51 | 500250 | CABLE; SINGLE CONDUCTOR; 400 KCMIL; AL STRANDED; CT RATED; 2KV; 90C | 7384 | 0 | 0 | 7384
52 | 106071 | SHIM; PV TO TORQUE TUBE; AL; 3/4 (1506-213) | 4303 | 0 | 0 | 4303
53 | 105979 | WIRE ROPE; INTERCONNECT; EVER180; POWERTILT10 (1506-658) | 1875 | 0 | 0 | 1875
54 | 110240 | RIVET; BLIND; LONG GRIP; 6.4MM; SS | 35437 | 0 | 0 | 35437
55 | 507416 | NUT; NYLOCK; M8-1.25; BRASS | 11377 | 0 | 0 | 11377
56 | 109203 | ASSY; CONNECTOR; FEMALE; T5 (1508-027-02) | 8794 | 0 | 0 | 8794
57 | 114696 | U-BOLT; 1/2-13 X 1-1/2; 4-1/2 OD; 6 LENGTH; HDG; W/ NUTS | 5000 | 0 | 0 | 5000
58 | 106505 | SIGN; AL; WARNING; PUNCHED 3 X 6 (1507-541) | 979 | 0 | 10 | 989
59 | 105262 | NUT; HVYHX; 3/4-10; HDG; A194 2H (1501-275) | 8315 | 0 | 0 | 8315
60 | 106206 | SIGN; AL; CB A1; 1.5 X 6 (1507-064) | 4897 | 0 | 0 | 4897
61 | 125481 | LABEL; WARNING/CAUTION; FOR SYSTEM INFO; 4 5/8? X 10? | 1863 | 0 | 0 | 1863
62 | 508831 | MOUNTING ITEM; END-CLAMP; SET 45-47 MM (1.77-1.85 IN) | 3725 | 0 | 0 | 3725
63 | 106005 | CLIP; PV MOUNTING; IFF; SHALLOW; BLK (1506-711) | 2250 | 0 | 0 | 2250
64 | 503244 | PAD; FOOT; SQUARE; RUBBER; T5 | 0 | 992 | 0 | 992
65 | 850-00153 | Assembly; Inverter Cable Adapter Kit-01 (850-00153) | 100 | 0 | 0 | 100
66 | 106653 | CLAMP; HOSE; WORM DRIVE; 5/16 WIDE; 1 7/16 ID; 301 SS (1507-337) | 4502 | 0 | 0 | 4502
67 | 135213 | METER; MODBUS; WATTNODE; US; 120VAC | 22 | 0 | 0 | 22
68 | 105978 | WIRE ROPE; INTERCONNECT; NORTH;SUNP210;POWERTILT10 (1506-657) | 1015 | 0 | 0 | 1015
69 | 126538 | BOLT; HH; 7/16-14 X 1.25; SAE J429 GRADE 5; HDG | 19119 | 0 | 0 | 19119
70 | 102046 | MOUNTING ITEM; END CLAMPS ENDCF; KIT ?F?; BLACK; 20 UNITS PER BOX | 46 | 59 | 0 | 105
71 | 126539 | NUT; HVYHX; 7/16-14; HDG | 19310 | 0 | 0 | 19310
72 | 106426 | CONNECTOR; PIN; MC4; 12/10 AWG; 5.5-9MM CABLE GLAND; PV-KST4/6II (32.0017) | 3479 | 0 | 80 | 3559
73 | 111356 | ASSY; CABLE; JUMPER; MC4 SKT/MC4 PIN; 10T37-RHW/USE058-BK-2000; UL; 10AWG; 10 FT | 353 | 0 | 0 | 353
74 | 105332 | SCREW; S-D; HWH; #14 X3/4; #3PT; 410SS (1503-909) | 19338 | 0 | 0 | 19338
75 | 106602 | ASSY; SUPPORT; NORTH; UNIVERSAL; T10 METRIC (1507-271) | 99 | 0 | 73 | 172
76 | 110517 | ASSY; CABLE; JUMPER; MC4 SKT/MC4 PIN; H-S DUAL 12583780; 5 FT. (1508-735) | 279 | 0 | 0 | 279
77 | 102210 | MOUNTING ITEM; MID CLAMPS MIDC; BLACK; 20 UNITS PER BOX | 62 | 13 | 5 | 80
78 | 110001 | MONITORING ITEM; SPR-PMR-ENC; SPRM EXTERNAL MOUNT BOX; SMS 1.2; US/EU (1508-553) | 47 | 0 | 0 | 47
79 | 105211 | ASSY; CORNER; CURB; MITERED; OUTSIDE (1501-168) | 0 | 52 | 0 | 52 | Fabricated Metal. Dimension UOM - IN - [Length - 9.96; Width - 9.96; Height - 2.04; Weight 3.96 LBS]
80 | 111152 | GPS; 16X; LVS; RJ45; OEM | 25 | 0 | 0 | 25
81 | 507167 | SPACER; 1/2 ID; 1 5/16 LONG; ALUMINUM | 2030 | 0 | 0 | 2030
82 | 126491 | CLIP; PV MOUNTING; IFF; SHALLOW; BUY USA ONLY (106004) | 2309 | 0 | 0 | 2309
83 | 110769 | BANNER; VINYL; SUNPOWER; OUTDOOR USE; 6'X3' (1508-979) | 59 | 0 | 0 | 59
84 | 110127 | Connector; PV; MC4-F-100; 3-6mm OD; Female (100/box) | 21 | 0 | 0 | 21
85 | 126230 | GAUGE; 14GA; AXIAL THRUST RETAINER | 289 | 0 | 0 | 289
86 | 500098 | Branch Circuit End Cap; ACPV; Plug (850-00046) | 1361 | 28 | 5 | 1394
87 | 106652 | CLIP; CABLE; ACME (1507-336) | 8091 | 0 | 0 | 8091
88 | 500099 | Branch Circuit End Cap; ACPV; Receptacle (363-00006) | 1682 | 24 | 6 | 1712
89 | 107347 | SWITCH; SAFETY; 200A; 600VDC; NEMA 3R; 3-POLE; NON-FUSED (4400-012) | 3 | 0 | 0 | 3
90 | 106070 | BOLT; HVYHX STRUCTURAL; 3/4-10 X 3.25; HDG; A-325 (1506-212) | 2010 | 0 | 0 | 2010
91 | 109226 | CONNECTOR; SOCKET; MC4; 12/10 AWG; 3-6MM CABLE GLAND; PV-KBT4/6I (32.0014) | 1599 | 0 | 0 | 1599
92 | 106096 | BOLT; HH; 1/4-20 X 2.25; ASTM F593C; W/ PATCH (1506-268) | 13731 | 0 | 0 | 13731
93 | 502151 | SERVICE KIT; BLIND RIVET GUN; AVDEL â€“ GENESIS NG4; 71210-99990 | 6 | 0 | 0 | 6
94 | 108652 | CONTACTOR; AC OPER; SIZE 1; 120V; 2NO+2NC (1507-996) | 8 | 0 | 0 | 8
95 | 105212 | ASSY; CORNER; CURB; MITERED; INSIDE (1501-169) | 0 | 25 | 0 | 25 | Fabricated Metal. Dimension UOM - IN - [Length - 60; Width - 10.8; Height - 4.2; Weight 4 LBS]
96 | 125762 | WIRE; SOLAR ARRAY; USE-2; TYPE PV; RHH OR RHW-2; 2000V; XLPE; 12AWG | 10000 | 0 | 0 | 10000
97 | 507168 | SPACER; 1/2 ID; 5/16 LENGTH; STEEL; F1136 | 4238 | 0 | 0 | 4238
98 | 111130 | CLIP; SAFETY LOCK; MC3; STG.CS.3B | 9209 | 0 | 0 | 9209
99 | 111737 | HOUSING; SPHERICAL BEARING; TOP | 553 | 0 | 0 | 553
100 | 106625 | SIGN; AL; CB D2; 1.5 X 6 (1507-298) | 217 | 0 | 0 | 217
101 | 500705 | KIT; REPLACEMENT HARDWARE SET; 8 HANGER BOLT (12 units per box) | 25 | 4 | 0 | 29
102 | 501586 | CONNECTOR; PIN; H4; 12 AWG; H4CMC4DN; AMPHENOL | 638 | 101 | 0 | 739
103 | 506225 | SPACER; SHORT; BRACKET; ADAPTER; BALLAST TRAY; SOUTH; T5 | 3926 | 0 | 0 | 3926
104 | 106904 | SLEEVE; WIRE ROPE; OVAL; 3/16; ZINC PL.; COPPER (1507-737) | 2050 | 0 | 0 | 2050
105 | 105278 | FITTING; FORK STRUT; MT-026 (1501-303) | 69 | 0 | 0 | 69
106 | 126537 | WASHER; HARDENED; FLAT; 7/16; F436; HDG | 43471 | 0 | 0 | 43471
107 | 105221 | NUT; FLANGE; 1/4-20; 18-8 SS; SERRATED FACE (1501-210) | 18090 | 0 | 16173 | 34263
108 | 111751 | CLIP; EXTENDED; SANYO; 6; RND CORNERS | 800 | 0 | 0 | 800
109 | 114440 | SPACER; FOAM; 2.0 X 2.5 X 16.25; HFC FOAM | 369 | 0 | 0 | 369
110 | 126638 | FUSE; PV; FAST-ACTING; 600V; 225A; COOPER BUSSMAN; PVS-R-225 | 26 | 0 | 0 | 26
111 | 135158 | ONE-FLANGE FOOT; UNIRAC; SOLARMOUNT-I; CONNECTION; 004012M | 410 | 0 | 0 | 410
112 | 500704 | KIT; REPLACEMENT HARDWARE SET; 6 HANGER BOLT (12 units per box) | 31 | 10 | 0 | 41
113 | 106551 | END CAP; TUBE; SUNPOWER; T-0 (1507-658) | 400 | 0 | 0 | 400
114 | 125944 | REDUCER; LEFT; 9 TO 6; COPE; 238-09LH-06 -SS | 42 | 0 | 0 | 42
115 | 102247 | Mounting Item; GC-4; Grounding Clips (100 units / Box) | 26 | 0 | 0 | 26
116 | 501588 | CONNECTOR; PIN; H4; 10 AWG; H4CMC6DN; AMPHENOL | 560 | 0 | 0 | 560
117 | 501589 | CONNECTOR; SOCKET; H4; 10 AWG; H4CFC6DN; AMPHENOL | 560 | 0 | 0 | 560
118 | 503120 | ASSY; BOLT/NUT; HHS; 5/8-11X1.5; ASTM A490(1)/A563 DH/F1136 GR3 NC; SOLAR STAR | 2510 | 0 | 0 | 2510
119 | 110150 | BONDING JUMPER; #1 CU WIRE; 600A; COOPER B-LINE 99-N1 w/SS6 (1508-653) | 151 | 0 | 0 | 151
120 | 104355 | Mounting Item; SPR-CS; SPR Comp Screws (1500 per box) | 12 | 6 | 0 | 18
121 | 505959 | SIGN; AL; WARNING; ELECTRICAL SHOCK; LINE AND LOAD ENERGIZED; 3 X 6 | 266 | 6 | 0 | 272
122 | 500728 | BOLT; HVYHX STRUCTURAL; 3/4-10 X 2.5; HDG; A-325; NAFTA (105261) | 1470 | 0 | 0 | 1470
123 | 501587 | CONNECTOR; SOCKET; H4; 12 AWG; H4CFC4DN; AMPHENOL | 438 | 101 | 0 | 539
124 | 114793 | NUT; CHANNEL; NO SPRING; 1/2-13; 316 SS | 749 | 0 | 0 | 749
125 | 114480 | MONITORING ITEM; SPR-PMR-GTWY; GATEWAY; SMS 1.2; US/EU; REFURBISHED | 9 | 0 | 0 | 9
126 | 502290 | KIT; ACCESSORY; PIN/DISCONNECT TOOL | 401 | 7 | 1 | 409
127 | 106221 | SIGN; AL; WARNING; AC DISCONNECT; 3 X 6 (1507-079) | 673 | 0 | 0 | 673
128 | 512717 | ASSY; COVER; SKIRT; CORNER; INSIDE; INVISIMOUNT | 105 | 0 | 0 | 105
129 | 105804 | ASSY; CABLE; JUMPER; MC; 10 AWG; 20'; UL (1505-256) | 141 | 0 | 0 | 141
130 | 104023 | Mounting Item; SPR-SH; SPR Comp Shims (100 per box) | 81 | 15 | 0 | 96
131 | 135647 | NUT; HEX; 1/4-20; 18-8 SS; BUY USA ONLY (107549) | 1800 | 0 | 0 | 1800
132 | 503913 | PLATE; DRIVE SIDE; RAISED CONTROLLER MOUNTING | 38 | 0 | 0 | 38
133 | 125952 | CABLE TRAY CLAMP GUIDE; COPE; 304SS HDWR; 9131A-HDW | 199 | 0 | 0 | 199
134 | 125940 | REDUCER; RIGHT; 9 TO 6; COPE; 238-09RH-06 -SS | 32 | 0 | 0 | 32
135 | 107160 | POWER SUPPLY; PS100 (4550-016) | 4 | 0 | 0 | 4
136 | 510080 | KIT; FLAT-TILE ROOF; QKMT-PV; MILL | 0 | 88 | 0 | 88
137 | 109654 | LABEL; CAUTION: SOLAR CIRCUIT; 6 X 2 (1508-220) | 259 | 0 | 0 | 259
138 | 105259 | PIN; SHORT PIVOT; .88 OD X 2.5 GRIP; MT-021 (1501-271) | 166 | 0 | 0 | 166
139 | 105808 | GROMMET; 1.25OD; .828ID; EPDM (1505-263) | 1800 | 0 | 0 | 1800
140 | 106093 | SIGN; AL;PV DISC FOR UTILITY OPER;2.5X4.3;SUNT (1506-265) | 424 | 0 | 0 | 424
141 | 115247 | MONITORING ITEM; SP-ACC-SPRm; ACCESSORY KIT; SMS 2.0 | 21 | 0 | 0 | 21
142 | 111526 | SENSOR; RAIN GAUGE | 5 | 0 | 0 | 5
143 | 502275 | NUT; HEX; M14 X 2.0; C10; DIN934; F1136 | 3430 | 0 | 0 | 3430
144 | 104954 | SWITCH; SAFETY; 400A; 600VDC; NEMA 3R; 3-POLE; NON-FUSED (1500-026) | 1 | 0 | 0 | 1
145 | 509225 | BOX; PACKAGING; INVISIMOUNT; 8KW SYSTEM | 101 | 2 | 0 | 103
146 | 109225 | CONNECTOR; PIN; MC4; 12/10 AWG; 3-6MM CABLE GLAND; PV-KST4/6I (32.0015) | 794 | 0 | 0 | 794
147 | 106563 | ASSY; CABLE; JUMPER; TYCO F MINUS/MC3 PIN; USE-2 12AWG; 8.30M (1507-681) | 56 | 0 | 0 | 56
148 | 501918 | BOLT; HH; 3/8-16 X 2.75â€; 304SS | 1366 | 0 | 0 | 1366
149 | 110125 | Connector; PV; MC4-M-100; 3-6mm OD; Male (100/box) | 7 | 1 | 0 | 8
150 | 106624 | SIGN; AL; CB A6; 1.5 X 6 (1507-296) | 192 | 0 | 0 | 192
151 | 105921 | ASSY; CABLE; DB9_M_DB9_F; 30 (1506-562) | 81 | 0 | 0 | 81
152 | 106504 | SIGN; AL; SUNPOWER T10 SOLAR ROOF TILE; PUNCHED 5 X 14 (1507-540) | 97 | 0 | 10 | 107
153 | 506240 | SWITCH; SAFETY; 60A; 480V; 3 POLE; NEMA 3R; NON-FUSED | 5 | 0 | 0 | 5
154 | 111352 | MOUNTING ITEM; L FOOTINGS LF; CLEAR; 20 UNITS PER BOX | 14 | 3 | 0 | 17
155 | 105935 | SIGN; AL;WARNING; DUAL POWER; DISC;2.5X4.3SUNT (1506-592) | 300 | 0 | 0 | 300
156 | 125483 | SIGN; PLASTIC WARNING DUAL POWER SUPPLY PV SYSTEM DISCONNECT; 4.5 X 3 | 208 | 0 | 0 | 208
157 | 502933 | LOCKBOLT; 1/4 X 3/16 LG; SS | 1926 | 0 | 0 | 1926
158 | 111357 | ASSY; CABLE; JUMPER; MC4 SKT/MC4 PIN; 10T37-RHW/USE058-BK-2000; UL; 10AWG; 20 FT | 56 | 0 | 0 | 56
159 | 105321 | COVER; TRAY; WIRING; TRACKER & SHADE STRUCTURES (1503-762) | 184 | 0 | 0 | 184
160 | 110675 | METER; 300A; SMALL CT; VERIS; H8036-0300-2 (1508-824) | 1 | 0 | 0 | 1
161 | 500664 | MOUNTING ITEM; FLAT WASHER; SOLARMOUNT-I; 5/16; CLR | 288 | 0 | 0 | 288
162 | 105597 | METER; GLASS JAR; 2-WAY; CLASS 200; 6KYZ (1503-568) | 1 | 0 | 0 | 1
163 | 105323 | END CAP; TRAY; WIRING; LEFT; TRACKER & SHADE (1503-768) | 352 | 0 | 0 | 352
164 | 106072 | FILLET; ANTI-PONDING; FOAM; 4'; 10 X 2 X 3/8 (1506-216) | 122 | 0 | 0 | 122
165 | 106211 | SIGN; AL; CB B3; 1.5 X 6 (1507-069) | 153 | 0 | 0 | 153
166 | 106229 | SIGN; AL; MAP IN CAB; UTLY DISCONNECT; 3 X 6 (1507-087) | 96 | 0 | 0 | 96
167 | 105322 | END CAP; TRAY; WIRING; RIGHT; TRACKER & SHADE (1503-767) | 339 | 0 | 0 | 339
168 | 105388 | CONNECTOR; PIN; MC TYPE 3; 3 MM; UL; 10 AWG; PV-KST3II UR (32.0003/UR) | 1179 | 0 | 0 | 1179
169 | 110353 | Connector; PV; MC4-ML-100; 5.5-9mm OD; Male (100/box) | 6 | 0 | 0 | 6
170 | 105387 | CONNECTOR; SOCKET; MC TYPE 3; 3 MM; UL; 10 AWG; PV-KBT3II UR (32.0002/UR) | 969 | 0 | 0 | 969
171 | 106603 | ASSY; SUPPORT; SOUTH; UNIVERSAL; T10 METRIC (1507-272) | 10 | 3 | 66 | 79
172 | 109715 | CLAMP; GUIDE; CABLE TRAY; 0.25; COOPER B-LINE; 9SS6-1205NB (1508-286) | 71 | 0 | 0 | 71
173 | 106607 | ASSY; CABLE; DB9_M_DB9_F; 10 (1507-276) | 74 | 0 | 0 | 74
174 | 103906 | MOUNTING ITEM; SPLICE BARS SBAR-SM; BLACK; 20 UNITS PER BOX | 0 | 3 | 0 | 3
175 | 506304 | PLATE; BAR; ANCHOR; T5 | 1808 | 0 | 0 | 1808
176 | 505761 | SIGN; AL; INV-03; 1.5 X 6 | 128 | 0 | 0 | 128
177 | 110851 | KIT; CONSUMPTION MONITORING; US; WITH INTERFACE (1508-940) | 0 | 2 | 0 | 2
178 | 108904 | SIGN; AL; SYSTEM J; 1.5 X 6 (1508-034) | 99 | 0 | 0 | 99
179 | 106227 | SIGN; AL; POTENTIAL ARC FLASH HAZARD; 3 X 6 (1507-085) | 107 | 0 | 0 | 107
180 | 110849 | ASSY; SUPPORT; MAIN; UNIVERSAL; T10 METRIC; RIBBED (1508-589) | 0 | 19 | 0 | 19
181 | 502120 | LUG; COMPRESSION; 250KCMIL; AL; NARROW TANG; 5/16'' SINGLE HOLE | 90 | 0 | 0 | 90
182 | 106531 | SIGN; AL; PV ARRY DC DISCONNECT; MAX 100A; 4 X 6 (1507-588) | 100 | 0 | 0 | 100
183 | 105279 | PLATE; DRIVE SIDE; MT-020 (1501-304) | 89 | 0 | 0 | 89
184 | 108510 | SIGN; AL; CB H3; 1.5 X 6(1507-925) | 115 | 0 | 0 | 115
185 | 105340 | PIPE STRAP; RIGID CONDUIT; TWO HOLE; 1 1/4; SS (1504-041) | 272 | 0 | 0 | 272
186 | 105700 | WIRE ROPE; INTERCONNECT; RFT10; SHARP 200 (1505-942) | 115 | 0 | 0 | 115
187 | 500911 | MOUNTING ITEM; U-LA; RAIL BRACKET; 2 AL | 60 | 0 | 0 | 60
188 | 109875 | MONITORING ITEM; SPR-PMR-DLOG; DATA LOGGER; SMS 1.2; US/EU (1508-464) | 3 | 1 | 0 | 4
189 | 105240 | WASHER; FLAT; 1/2; 18-8/304SS (1501-250) | 8771 | 0 | 0 | 8771
190 | 106223 | SIGN; AL; POWER METER & AC DISCONNECT; 3X6 (1507-081) | 97 | 0 | 0 | 97
191 | 106216 | SIGN; AL; WARNING; PULL BOX; 3 X 6 (1507-074) | 94 | 1 | 0 | 95
192 | 126637 | FUSE; PV; FAST-ACTING; 600V; 200A; COOPER BUSSMAN; PVS-R-200 | 16 | 0 | 0 | 16
193 | 106226 | SIGN; AL; POS POLE; DC SYS; GROUNDED; 3 X 6 (1507-084) | 242 | 0 | 0 | 242
194 | 503940 | CHANNEL; STRUT; 1-5/8 X 1-5/8 X 50 LG; SLOTTED; HDG | 39 | 0 | 0 | 39
195 | 125482 | SIGN; PLASTIC PHOTOVOLTAIC AC DISCONNECT FOR UTILITY OPERATION; 4.5? X 3? | 100 | 0 | 0 | 100
196 | 505762 | SIGN; AL; INV-04; 1.5 X 6 | 105 | 0 | 0 | 105
197 | 502118 | LUG; COMPRESSION; #3/0 AWG; AL; NARROW TANG; 5/16'' SINGLE HOLE | 79 | 0 | 0 | 79
198 | 506908 | SIGN; AL; ''XFR-03''; 1.5''x6'' | 99 | 0 | 0 | 99
199 | 114502 | SIGN; AL; CB C10; 1.5 X 6 | 103 | 0 | 0 | 103
200 | 114503 | SIGN; AL; CB C11; 1.5 X 6 | 103 | 0 | 0 | 103
201 | 106197 | LABEL;CAUTION; PWR SRCS DISC; 3.5 X 4.25 SUNTL (1507-051) | 100 | 0 | 0 | 100
202 | 506907 | SIGN; AL; ''XFR-02''; 1.5''x6'' | 96 | 0 | 0 | 96
203 | 501091 | UPPER HAT SECTION; RIGHT; MIRROR; C7 | 1000 | 0 | 0 | 1000
204 | 501093 | UPPER HAT SECTION; LEFT; MIRROR; C7 | 1000 | 0 | 0 | 1000
205 | 106497 | SIGN; AL; CAUTION: SOLAR ELECTRIC CONNECTED; 2.53.5 (1507-533) | 90 | 0 | 0 | 90
206 | 110820 | Mounting Item; SPRBOS-UC-100; Ground Lug Kit (100 units / Box) | 0 | 1 | 0 | 1
207 | 126563 | SEALANT; DUCT; POLYWATER FST-250KIT1 | 6 | 0 | 0 | 6
208 | 505785 | SIGN; AL; SSB-02; 1.5 X 6 | 100 | 0 | 0 | 100
209 | 505787 | SIGN; AL; SSB-04; 1.5 X 6 | 100 | 0 | 0 | 100
210 | 106620 | SIGN; AL; CB B8; 1.5 X 6 (1507-291) | 79 | 0 | 0 | 79
211 | 114504 | SIGN; AL; CB C12; 1.5 X 6 | 99 | 0 | 0 | 99
212 | 114505 | SIGN; AL; CB C13; 1.5 X 6 | 99 | 0 | 0 | 99
213 | 114506 | SIGN; AL; CB C14; 1.5 X 6 | 99 | 0 | 0 | 99
214 | 114507 | SIGN; AL; CB C15; 1.5 X 6 | 99 | 0 | 0 | 99
215 | 106224 | SIGN; AL; WARNING; DATA ACQUISITION SYS; 3 X 6 (1507-082) | 98 | 0 | 0 | 98
216 | 106635 | SIGN; AL; CB E3; 1.5 X 6 (1507-308) | 98 | 0 | 0 | 98
217 | 110695 | SIGN; AL; CB E7; 1.5 X 6 (1508-791) | 98 | 0 | 0 | 98
218 | 505763 | SIGN; AL; INV-05; 1.5 X 6 | 98 | 0 | 0 | 98
219 | 500919 | MOUNTING ITEM; U-LA; GROUND WEEBLUG #1 | 100 | 0 | 0 | 100
220 | 108509 | SIGN; AL; CB H2; 1.5 X 6(1507-924) | 97 | 0 | 0 | 97
221 | 505776 | SIGN; AL; CBX-08; 1.5 X 6 | 97 | 0 | 0 | 97
222 | 505780 | SIGN; AL; SPB-04; 1.5 X 6 | 97 | 0 | 0 | 97
223 | 106617 | SIGN; AL; CB B5; 1.5 X 6 (1507-288) | 96 | 0 | 0 | 96
224 | 106631 | SIGN; AL; CB C5; 1.5 X 6 (1507-304) | 96 | 0 | 0 | 96
225 | 109743 | SIGN; AL; CB B9; 1.5 X 6 (1508-334) | 96 | 0 | 0 | 96
226 | 505775 | SIGN; AL; CBX-07; 1.5 X 6 | 96 | 0 | 0 | 96
227 | 106632 | SIGN; AL; CB C6; 1.5 X 6 (1507-305) | 95 | 0 | 0 | 95
228 | 109747 | SIGN; AL; CB D7; 1.5 X 6 (1508-338) | 95 | 0 | 0 | 95
229 | 505786 | SIGN; AL; SSB-03; 1.5 X 6 | 94 | 0 | 0 | 94
230 | 505798 | SIGN; AL; PAD-05; 1.5 X 6 | 94 | 0 | 0 | 94
231 | 505799 | SIGN; AL; PAD-06; 1.5 X 6 | 94 | 0 | 0 | 94
232 | 502117 | LUG; COMPRESSION; #2/0 AWG; AL; NARROW TANG; 5/16'' SINGLE HOLE | 71 | 0 | 0 | 71
233 | 108508 | SIGN; AL; CB H1; 1.5 X 6(1507-923) | 92 | 0 | 0 | 92
234 | 505777 | SIGN; AL; SPB-01; 1.5 X 6 | 83 | 9 | 0 | 92
235 | 500059 | CLIP; PV; STAINLESS; 2W; EDGE | 1340 | 0 | 0 | 1340
236 | 500600 | WASHER; FLAT; 1/4; .75OD; 18-8SS; BUY USA ONLY (105772) | 4866 | 0 | 0 | 4866
237 | 106225 | SIGN; AL; SOLAR GEN UTILITY; AC SWITCH; 3 X 6 (1507-083) | 79 | 0 | 0 | 79
238 | 106203 | SIGN; AL; SYSTEM C; 1.5 X 6 (1507-061) | 89 | 0 | 0 | 89
239 | 508999 | MOUNTING ITEM; HEYCLIP SUNRUNNER CABLE CLIP SS; S6405 | 848 | 0 | 0 | 848
240 | 105922 | ASSY; CABLE; CAT_5; 24 (1506-563) | 77 | 0 | 0 | 77
241 | 505792 | SIGN; AL; DCD-05; 1.5 X 6 | 88 | 0 | 0 | 88
242 | 502223 | BOLT; SHCS; M14 X 30 X 2; 12.9; F1136 | 994 | 0 | 0 | 994
243 | 110000 | MONITORING ITEM; SPR-PMR-ACC; SPRM EXTERNAL MOUNT ACCESSORY KIT; SMS 1.2; US/EU | 16 | 0 | 0 | 16
244 | 106170 | ASSY; SUPPORT; SOUTH; UNIVERSAL; POWERTILT10 (1506-465) | 49 | 0 | 0 | 49
245 | 506906 | SIGN; AL; ''XFR-01''; 1.5''x6'' | 82 | 0 | 0 | 82
246 | 502119 | LUG; COMPRESSION; #4/0 AWG; AL; NARROW TANG; 5/16'' SINGLE HOLE | 65 | 0 | 0 | 65
247 | 110350 | MONITORING ITEM; SPR-PMR-DLOG; DATA LOGGER; SMS 1.2; HARD-WIRED; US/EU | 2 | 1 | 0 | 3
248 | 500914 | MOUNTING ITEM; U-LA; FRONT CAP; 2 AL | 20 | 0 | 0 | 20
249 | 500915 | MOUNTING ITEM; U-LA; REAR CAP; 2 AL | 20 | 0 | 0 | 20
250 | 110396 | SIGN; AL; INVERTER OUTPUT CONNECTION; 4 x 6 (1508-700) | 73 | 0 | 0 | 73
251 | 111351 | MOUNTING ITEM; MID CLAMPS MIDC; CLEAR; 20 UNITS PER BOX | 13 | 1 | 0 | 14
252 | 505791 | SIGN; AL; DCD-04; 1.5 X 6 | 83 | 0 | 0 | 83
253 | 111620 | BEARING; THRUST WASHER; FOR 1 ID PIN | 46 | 0 | 0 | 46
254 | 505768 | SIGN; AL; INV-10; 1.5 X 6 | 82 | 0 | 0 | 82
255 | 505790 | SIGN; AL; DCD-03; 1.5 X 6 | 82 | 0 | 0 | 82
256 | 126605 | FUSE; PV; FAST-ACTING; 600V; 125A; COOPER BUSSMAN; PVS-R-125 | 12 | 0 | 0 | 12
257 | 108073 | SIGN; AL; WARNING; DC SWITCH #5; 3 X 6 (1507-817) | 71 | 0 | 0 | 71
258 | 107340 | SWITCH; SAFETY; 200A; 600VDC; NEMA 3R; 3-POLE; FUSED (4400-005) | 1 | 0 | 0 | 1
259 | 505769 | SIGN; AL; CBX-01; 1.5 X 6 | 80 | 0 | 0 | 80
260 | 106264 | ADAPTER; RJ45 TO DB9; HSN (1507-172) | 87 | 0 | 0 | 87
261 | 109748 | SIGN; AL; CB D8; 1.5 X 6 (1508-339) | 79 | 0 | 0 | 79
262 | 505770 | SIGN; AL; CBX-02; 1.5 X 6 | 79 | 0 | 0 | 79
263 | 505797 | SIGN; AL; PAD-04; 1.5 X 6 | 79 | 0 | 0 | 79
264 | 126422 | WASHER; FLAT; 1/2; 0.562 ID; 1.375 OD; HDG | 3423 | 0 | 0 | 3423
265 | 505783 | SIGN; AL; SPB-07; 1.5 X 6 | 77 | 0 | 0 | 77
266 | 110391 | FUSE; FAST-ACTING; 600V; 12A; COOPER BUSSMAN; PVM-12 (1508-673) | 112 | 0 | 0 | 112
267 | 114478 | MONITORING ITEM; SPR-PMR-WDISP; WIRELESS DISPLAY; SMS 1.2; US/EU; REFURBISHED | 3 | 0 | 0 | 3
268 | 114483 | MONITORING ITEM; SPR-PMR-WDISP; WIRELESS DISPLAY; SMS 1.1; REFURBISHED | 3 | 0 | 0 | 3
269 | 125479 | LABEL; DANGER SOLAR POWER DC CIRCUIT; 6 X 4 INCH | 0 | 295 | 0 | 295
270 | 502131 | LUG; COMPRESSION; 300KCMIL; AL; NARROW TANG; 1/2'' SINGLE HOLE | 74 | 0 | 0 | 74
271 | 106533 | SIGN; AL; PV ARRY DC DISCONNECT; MAX 400A; 4 X 6 (1507-590) | 63 | 0 | 0 | 63
272 | 106612 | SIGN; AL; CB A4; 1.5 X 6 (1507-282) | 74 | 0 | 0 | 74
273 | 500239 | BOLT; HH; 1/4-20 X 2.50; ASTM F593C; W/ PATCH; WTO GPA (106097) | 1574 | 0 | 0 | 1574
274 | 505767 | SIGN; AL; INV-09; 1.5 X 6 | 73 | 0 | 0 | 73
275 | 506525 | SKIRT; INVISIMOUNT; LONG LENGTH; 4000MM | 14 | 0 | 0 | 14
276 | 106214 | SIGN; AL; CB C3; 1.5 X 6 (1507-072) | 72 | 0 | 0 | 72
277 | 106630 | SIGN; AL; CB C4; 1.5 X 6 (1507-303) | 69 | 0 | 0 | 69
278 | 505766 | SIGN; AL; INV-08; 1.5 X 6 | 67 | 2 | 0 | 69
279 | 125620 | MOUNTING ITEM; ACE CLAMP; SOLARMOUNT-I; PRIMARY BLOCK; 3/8 | 16 | 0 | 0 | 16
280 | 106139 | CHANNEL; STRUT; 1-5/8 X 1-5/8 X 76 LG; SLOTTED; HDG (1506-394) | 22 | 0 | 0 | 22
281 | 126639 | FUSE; PV; FAST-ACTING; 600V; 250A; COOPER BUSSMAN; PVS-R-250 | 5 | 0 | 0 | 5
282 | 106202 | SIGN; AL; SYSTEM B; 1.5 X 6 (1507-060) | 67 | 0 | 0 | 67
283 | 501121 | UNDER FLOOR SUPPORT BRACKET; 25; COOPER B-LINE; B409-SPH-25 HDG | 6 | 0 | 0 | 6
284 | 111355 | ASSY; CABLE; JUMPER; MC4 SKT/MC4 PIN; 10T37-RHW/USE058-BK-2000; UL; 10AWG; 5 FT | 55 | 0 | 0 | 55
285 | 106212 | SIGN; AL; CB C1; 1.5 X 6 (1507-070) | 66 | 0 | 0 | 66
286 | 109745 | SIGN; AL; CB C8; 1.5 X 6 (1508-336) | 66 | 0 | 0 | 66
287 | 136046 | BRACKET; AC CABLE; ACPV | 145 | 33 | 0 | 178
288 | 106235 | SIGN; AL; PV ARRY DC DISCONNECT;MAX 320A;4 X 6 (1507-093) | 92 | 0 | 0 | 92
289 | 108076 | SIGN; AL; CB A8; 1.5 X 6 (1507-820) | 65 | 0 | 0 | 65
290 | 506058 | SPACER; BRACKET; ADAPTER; BALLAST TRAY; SOUTH; T5 | 462 | 0 | 0 | 462
291 | 125943 | REDUCER; LEFT; 12 TO 9; COPE; 238-12LH-09 -SS | 8 | 0 | 0 | 8
292 | 505774 | SIGN; AL; CBX-06; 1.5 X 6 | 64 | 0 | 0 | 64
293 | 105767 | WASHER; FLAT; 3/8; F436; GALV B695 GR50 (1505-051) | 6448 | 0 | 0 | 6448
294 | 505773 | SIGN; AL; CBX-05; 1.5 X 6 | 62 | 0 | 0 | 62
295 | 106219 | SIGN; AL; WARNING; DC SWITCH #2; 3 X 6 (1507-077) | 54 | 0 | 0 | 54
296 | 107580 | WASHER; FENDER; 1/4; 1 OD; SS (5100-115) | 7304 | 0 | 0 | 7304
297 | 105551 | SCREW; CAP; HH; 1/4-20 X 2-1/2; 18-8SS; WITH PATCH (1503-205) | 189 | 1061 | 0 | 1250
298 | 110576 | CHANNEL; LOWER; PV ATTACH; V2 (1508-593) | 275 | 0 | 0 | 275
299 | 501092 | UPPER HAT SECTION; CENTER; MIRROR; C7 | 800 | 0 | 0 | 800
300 | 506527 | SKIRT; CORNER; INVISIMOUNT; RIGHT OUTER; 500MM | 62 | 0 | 0 | 62
301 | 506528 | SKIRT; CORNER; INVISIMOUNT; LEFT OUTER; 500MM | 62 | 0 | 0 | 62
302 | 106230 | SIGN; AL; REFER TO MAP; PGE DISCONNECT; 3 X 6 (1507-088) | 60 | 0 | 0 | 60
303 | 506621 | SKIRT; CLIP; INVISIMOUNT; 1.2MM WALL x 50MM; SB | 510 | 0 | 0 | 510
304 | 106532 | SIGN; AL; PV ARRY DC DISCONNECT; MAX 200A; 4 X 6 (1507-589) | 50 | 0 | 0 | 50
305 | 105312 | LUG; LAY-IN; #4-14; CU; TINNED; DIRECT BURIAL (1501-544) | 0 | 126 | 0 | 126
306 | 105718 | BOLT; HH; 1/4-20 X 1.50; ASTM F593C; W/ PATCH (1506-016) | 851 | 0 | 0 | 851
307 | 106618 | SIGN; AL; CB B6; 1.5 X 6 (1507-289) | 58 | 0 | 0 | 58
308 | 135159 | FLASHING; FLAT; UNIRAC; SOLARMOUNT-I; 8 X 12; DARK; W/SQR PLATE; 90415D | 14 | 0 | 0 | 14
309 | 503166 | COLLAR; LOCKBOLT; 1/4; SS | 1792 | 0 | 0 | 1792
310 | 106233 | SIGN; AL; PV ARRY DC DISCONNECT;MAX 80A;4 X 6 (1507-091) | 48 | 0 | 0 | 48
311 | 106905 | THIMBLE; 3/16 GALVANIZED; FF-T-276B TYPE II (1507-738) | 2037 | 0 | 0 | 2037
312 | 106616 | SIGN; AL; CB B4; 1.5 X 6 (1507-287) | 56 | 0 | 0 | 56
313 | 106220 | SIGN; AL; WARNING; DC SWITCH #3; 3 X 6 (1507-078) | 49 | 0 | 0 | 49
314 | 505759 | SIGN; AL; INV-01; 1.5 X 6 | 55 | 0 | 0 | 55
315 | 106715 | Monitoring Item; SPR-PMR-DLOG; Data Logger (1507-421) | 1 | 0 | 1 | 2
316 | 126640 | FUSE; PV; FAST-ACTING; 600V; 300A; COOPER BUSSMAN; PVS-R-300 | 4 | 0 | 0 | 4
317 | 500514 | KIT; FRU; ACPV MICROINVERTER - SBT | 0 | 10 | 0 | 10
318 | 505764 | SIGN; AL; INV-06; 1.5 X 6 | 51 | 2 | 0 | 53
319 | 126401 | DROP OUT; SIDE; 4 RADIUS; CABLE TRAY; AL; W/ SS 316HW | 30 | 0 | 0 | 30
320 | 106234 | SIGN; AL; PV ARRY DC DISCONNECT;MAX 160A;4 X 6 (1507-092) | 44 | 0 | 0 | 44
321 | 505782 | SIGN; AL; SPB-06; 1.5 X 6 | 52 | 0 | 0 | 52
322 | 106561 | CONNECTOR; TYCO; FEMALE; MINUS KEYED; 4MM SQ; 4-1394462-9 (1507-679) | 90 | 0 | 0 | 90
323 | 109876 | MONITORING ITEM; SPR-PMR-GTWY; GATEWAY; SMS 1.2; US/EU (1508-465) | 2 | 0 | 0 | 2
324 | 106204 | SIGN; AL; SYSTEM D; 1.5 X 6 (1507-062) | 51 | 0 | 0 | 51
325 | 106583 | WIRE ROPE; INTERCONNECT; NORTH SUNP 96 CELL; T10 (1507-708) | 52 | 0 | 0 | 52
326 | 505778 | SIGN; AL; SPB-02; 1.5 X 6 | 50 | 0 | 0 | 50
327 | 505789 | SIGN; AL; DCD-02; 1.5 X 6 | 50 | 0 | 0 | 50
328 | 105239 | BOLT; HH; 1/2-13 X 1.5; 304SS (1501-249) | 710 | 0 | 0 | 710
329 | 501539 | ASSY; BOLT/NUT; HVYHX; 1/2-13 X 1.25; GALV; A325 TYPE 1; A563 DH | 350 | 0 | 0 | 350
330 | 125947 | DROP-OUT; 12 W; COPE; 8-12DO | 14 | 0 | 0 | 14
331 | 505772 | SIGN; AL; CBX-04; 1.5 X 6 | 47 | 0 | 0 | 47
332 | 106716 | Monitoring Item; SPR-PMR-GTWY; Gateway (1507-422) | 2 | 0 | 0 | 2
333 | 106228 | SIGN; AL; REFER TO MAP; UTLY DISCONNECT; 3 X 6 (1507-086) | 39 | 0 | 0 | 39
334 | 105535 | CABINET;METER;NO SW;CLASS 200; 480V; 7 JAW;MLBNK (1503-125) | 1 | 0 | 0 | 1
335 | 505765 | SIGN; AL; INV-07; 1.5 X 6 | 37 | 8 | 0 | 45
336 | 125899 | ASSY; ENCLOSURE; J-BOX; REF CELL | 2 | 0 | 0 | 2
337 | 106213 | SIGN; AL; CB C2; 1.5 X 6 (1507-071) | 44 | 0 | 0 | 44
338 | 502133 | LUG; COMPRESSION; 400KCMIL; AL; NARROW TANG; 1/2'' SINGLE HOLE | 43 | 0 | 0 | 43
339 | 106209 | SIGN; AL; CB B1; 1.5 X 6 (1507-067) | 43 | 0 | 0 | 43
340 | 106623 | SIGN; AL; CB A5; 1.5 X 6 (1507-295) | 43 | 0 | 0 | 43
341 | 505794 | SIGN; AL; PAD-01; 1.5 X 6 | 43 | 0 | 0 | 43
342 | 109744 | SIGN; AL; CB C7; 1.5 X 6 (1508-335) | 22 | 0 | 0 | 22
343 | 505779 | SIGN; AL; SPB-03; 1.5 X 6 | 42 | 0 | 0 | 42
344 | 106222 | SIGN; AL; WARNING; POWER METER; 3 X 6 (1507-080) | 36 | 0 | 0 | 36
345 | 135209 | REDUCER; LEFT; 18 TO 12; COOPER B-LINE; 4A-18-LR12 W/SS6 | 5 | 0 | 0 | 5
346 | 105468 | SCREW; FOAM; 3 (1502-547) | 0 | 0 | 600 | 600
347 | 126641 | FUSE; PV; FAST-ACTING; 600V; 350A; COOPER BUSSMAN; PVS-R-350 | 3 | 0 | 0 | 3
348 | 108075 | SIGN; AL; CB A7; 1.5 X 6 (1507-819) | 40 | 0 | 0 | 40
349 | 505788 | SIGN; AL; DCD-01; 1.5 X 6 | 39 | 0 | 0 | 39
350 | 505960 | SIGN; AL; WARNING; ELECTRICAL SHOCK; UNGROUNDED SYSTEM; 3 X 6 | 16 | 18 | 0 | 34
351 | 500913 | MOUNTING ITEM; U-LA; SM BOTTOM MOUNT CLAMP w/HDW; CLR | 300 | 0 | 0 | 300
352 | 115249 | MONITORING ITEM; SP-DK-10; ACCESSORY KIT; SMS 2.0 | 4 | 0 | 0 | 4
353 | 108513 | SIGN; AL; SYSTEM H; 1.5 X 6(1507-928) | 19 | 0 | 0 | 19
354 | 106629 | SIGN; AL; CB D6; 1.5 X 6 (1507-302) | 15 | 0 | 0 | 15
355 | 505781 | SIGN; AL; SPB-05; 1.5 X 6 | 36 | 0 | 0 | 36
356 | 500724 | NUT; HEX; 1/4-20; 18-8 SS; WTO GPA (107549) | 802 | 0 | 0 | 802
357 | 506052 | BOLT; SHCS; M14 X 70 X 2; 12.9; F1136 | 241 | 0 | 0 | 241
358 | 500716 | SCREW; S-D; HWH; #6 X 1/2; #2 PT; 410SS; WTO GPA (107581) | 5000 | 0 | 0 | 5000
359 | 111349 | MOUNTING ITEM; SPLICE BARS SBAR-SM; CLEAR; 20 UNITS PER BOX | 3 | 0 | 0 | 3
360 | 502130 | LUG; COMPRESSION; 250KCMIL; AL; NARROW TANG; 1/2'' SINGLE HOLE | 34 | 0 | 0 | 34
361 | 503243 | PLATE; CONNECTOR; THERMAL EXPANSION; T5 | 247 | 0 | 0 | 247
362 | 108512 | SIGN; AL; SYSTEM G; 1.5 X 6(1507-927) | 17 | 0 | 0 | 17
363 | 505760 | SIGN; AL; INV-02; 1.5 X 6 | 33 | 0 | 0 | 33
364 | 106746 | SCREW; S-T; HWH; M4X0.7 X 12; 410SS (1507-462) | 1507 | 0 | 90 | 1597
365 | 106626 | SIGN; AL; CB D3; 1.5 X 6 (1507-299) | 13 | 0 | 0 | 13
366 | 105717 | BOLT; HH; 1/4-20 X 0.75; ASTM F593C; W/ PATCH (1506-015) | 643 | 0 | 0 | 643
367 | 106622 | SIGN; AL; WARNING; DC SWITCH #4; 3 X 6 (1507-293) | 26 | 0 | 0 | 26
368 | 108511 | SIGN; AL; SYSTEM F; 1.5 X 6(1507-926) | 15 | 0 | 0 | 15
369 | 502126 | LUG; COMPRESSION; 300KCMIL; AL; NARROW TANG; 3/8'' SINGLE HOLE | 22 | 0 | 0 | 22
370 | 110979 | WASHER; FENDER; 3/8ID; 1.25OD; SS (1508-957) | 842 | 0 | 0 | 842
371 | 135623 | BOLT; HH; 1/4-20 x 2.75; ASTM F593C; W/ PATCH | 219 | 0 | 0 | 219
372 | 106231 | SIGN; AL; MAP IN CAB; PGE DISCONNECT; 3 X 6 (1507-089) | 23 | 0 | 0 | 23
373 | 106619 | SIGN; AL; CB B7; 1.5 X 6 (1507-290) | 27 | 0 | 0 | 27
374 | 502873 | TOOL; UNLOCKING; AMPHENOL; H4TU0000 | 577 | 0 | 0 | 577
375 | 106903 | WIRE ROPE; 3/16; 7X7 GALVANIZED (1507-736) | 600 | 0 | 0 | 600
376 | 106007 | FLASHING; SMART MOUNT; BASE; BLK (1506-724) | 68 | 0 | 0 | 68
377 | 106023 | TAPE; 3M CONFORMABLE FOAM 4979F;BLACK; 3/4 WIDE (1506-066) | 130 | 0 | 0 | 130
378 | 106208 | SIGN; AL; CB A3; 1.5 X 6 (1507-066) | 13 | 0 | 0 | 13
379 | 110817 | Mounting Item; SPRBOS-AE-100; ACME Clips; (100 Units / Bag) | 0 | 2 | 1 | 3
380 | 505796 | SIGN; AL; PAD-03; 1.5 X 6 | 24 | 0 | 0 | 24
381 | 105430 | RING; HOSE SUPPORT; ROUTER DUST SUPPORT ASSEMBLY (1502-238) | 7500 | 0 | 0 | 7500
382 | 111131 | TOOL; UNLOCKING; MC4; PV MS | 702 | 0 | 0 | 702